## Contents
Australian Bureau of Statistics
4727.0.55.002 Australian Aboriginal and Torres Strait Islander Health Survey: Users' Guide, 2012-13 — National Aboriginal and Torres Strait Islander Health Measures Laboratory Quality Control Data
Released at 11:30 am (Canberra time) 10 Sept 2014
Contents
Tables
| 1 | Chronic disease biomarkers
| 2 | Nutrient biomarkers
More information available from the ABS website
Inquiries
For further information about these and related statistics, contact the National Information and Referral Service on 1300 135 070.
© Commonwealth of Australia 2014

## Table_1
Australian Bureau of Statistics
4727.0.55.002 Australian Aboriginal and Torres Strait Islander Health Survey: Users' Guide, 2012-13 — National Aboriginal and Torres Strait Islander Health Measures Laboratory Quality Control Data
Released at 11:30 am (Canberra time) 10 Sept 2014
Table1. Summary of the quality control results for the chronic disease biomarkers
Health risk factor | Test | Sample Type | Assay/Method | Analyser System | Units of measure | QC Procedure | Internal QC Long Term CV% |  |  |  | Analytical Goals (%CV) Desirable Goal = 1/2 Intra-individual Variation |  |  | Performance Classification
[7 empty] | Level I Mean | Level 1 CV % | Level 2 Mean | Level 2 CV % | Optimum | Desirable | Minimum | Based on Current Biological Variation Database (a)
Cardiovascular Disease | Total cholesterol | Serum | Cholesterol Oxidase | Architect Ci16200 | mmol/L | QC Note 1 | 2.815 | 1.19% | 6.575 | 1.13% | 1.35% | 2.7% | 4.05% | Optimal
| Triglycerides | Serum | Lipase glycerol kinase (GPO/PAP) | Architect Ci16200 | mmol/L | QC Note 1 | 0.92 | 1.79% | 2.045 | 1.3% | 5.225% | 10.45% | 15.68% | Optimal
| High-Density-Lipoprotein (HDL) cholesterol | Serum | Enzymatic method plus accelerator selective detergent, traceable to IDMS | Architect Ci16200 | mmol/L | QC Note 1 | 0.905 | 2.975% | 2.07 | 2.32% | 1.775% | 3.55% | 5.325% | Desirable
| Apolipoprotein B (Apo B) | Serum | Immunoturbidimetry | Integra 800 | g/L | QC Note 2 | 0.62 | 7.55% | 1.635 | 5.15% | 1.75% | 3.5% | 5.25% | Sub-Minimum
Chronic Kidney Disease | Creatinine | Serum | Isotope-Dilution Mass Spectrometry (IDMS) -traceable enzymatic method plus accelerator selective detergent | Integra 800 | µmol/L | QC Note 2 | 87.6 | 2.45% | 322.5 | 2.6% | 1.325% | 2.65% | 3.975% | Desirable
| Albumin | Urine | Immunoturbidimetry | Integra 800 | mg/L | QC Note 2 | 7.5 | 5.9% | 53.75 | 3.15% | 9% | 18% | 27% | Optimal
| Creatinine | Urine | Buffered kinetic Jaffe reaction without deproteinisation | Integra 800 | mmol/L | QC Note 2 | 7.01 | 3.05% | 20.58 | 2.1% | 6% | 12% | 18% | Optimal
Liver Disease | Alanine amino transferase (ALT) | Serum | Nicotinamide adenine dinucleotide (NADH without Pyridoxal 5'-Phosphate) | Architect Ci16200 | U/L | QC Note 1 | 25.55 | 3.015% | 91.55 | 1.705% | 6.075% | 12.15% | 18.23% | Optimal
| Gamma-glutamyl transferase (GGT) | Serum | Szasz - l-gamma-glutamly-3-carboxyl-4-nitroanilide | Architect Ci16200 | U/L | QC Note 1 | 36.25 | 2.215% | 158.35 | 1.375% | 3.45% | 6.9% | 10.35% | Optimal
Diabetes | Glycated haemoglobin (HbA1c) | Whole Blood | Cation-Exchange High-Performance Liquid Chromatography (CE-HPLC) | Biorad Variant II TurboHaemoglobin Testing System | % (or mmol/mol converted) | QC Note 3 | 5.555 | 1.63% | 9.6 | 1.3% | 0.85% | 1.7% | 2.55% | Optimal
| Glucose | Plasma | Hexokinase | Integra 800 | mmol/L | QC Note 2 | 4.75 | 2.45% | 16.15 | 2.35% | 1.425% | 2.85% | 4.275% | Desirable
Exposure to tobacco smoke | Cotinine | Serum | Solid phase competitive chemiluminescence | Immulite 2000XPi | nmol/L | QC Note 5 | 96.1 | 13.1% | 312.1 | 10.57% | No available reference
QC Procedural Notes
QC Note 1 | Bi-Level QC run at Startup then a further 3 times per day
ABS Samples run in a batch immediately following Startup QC signoff
QC Note 2 | Bi-Level QC run at Startup then end of shift
ABS Samples run in a batch immediately following Startup QC signoff
QC Note 3 | Calibration plus Bi-Level QC (Start and End) with each sample batch
QC Note 4 | Bi-Level QC (Start/End/every 50) with each sample batch
QC Note 5 | Bi-Level QC with each sample batch
Reference
(a) Desirable specifications for imprecision based on biological variation (intra-individual), <http://www.westgard.com/biological-variation-database-specifications>, Last accessed 22/08/2014

## Table_2
Australian Bureau of Statistics
4727.0.55.002 Australian Aboriginal and Torres Strait Islander Health Survey: Users' Guide, 2012-13 — National Aboriginal and Torres Strait Islander Health Measures Laboratory Quality Control Data
Released at 11:30 am (Canberra time) 10 Sept 2014
Table2. Summary of the quality control results for the nutrient status biomarkers
Health risk factor | Test | Sample Type | Assay/Method | Analyser System | Units of measure | QC Procedure | Internal QC Long Term CV% |  |  |  | Analytical Goals (%CV) Desirable Goal = 1/2 Intra-individual Variation |  |  | Performance Classification
[7 empty] | Level I Mean | CV % | Level 2 Mean | CV % | Optimum | Desirable | Minimum | Based on Current Biological Variation Database (a)
Folate | Folate | Serum | Competitive chemiluminescence | Modular E170 | nmol/L | QC Note 2 | 7.97 | 8.485% | 25.685 | 4.365% | 6% | 12% | 18% | Desirable
| RCF | Whole blood | Competitive chemiluminescence | Modular E170 | nmol/L | QC Note 2 | 9.245 | 6.75% | 19.26 | 4.6% | 3% | 6% | 9% | Minimum
Vitamin B12 | Vitamin B12 | Serum | Electrochemiluminescence Immunoassay (ECLIA) | Modular E170 | pmol/L | QC Note 2 | 331.35 | 2.945% | 880.85 | 1.875% | 3.75% | 7.5% | 11.25% | Optimum
Iron | Ferrtin | Serum | Chemiluminescent Micorparticle Immunoassay (CMIA) | Architect Ci16200 | µg/L | QC Note 1 | 33.7 | 4.9% | 362 | 5.75% | 3.55% | 7.1% | 10.65% | Desirable
| Soluble transferrin receptor (sTfR) | Serum | Particle enhanced immunoturbimetric assay | Integra 800 | mg/L | QC Note 2 | 2.28 | 4.8% | 7.02 | 2.8% | No available reference
| C-reactive protein (CRP) | Serum | Ultrasensitive immunoturbimetric assay | Architect Ci16200 | mg/L | QC Note 1 | 5.875 | 3.08% | 49.15 | 2.965% | 10.55% | 21.1% | 31.65% | Optimum
Urine | Sodium | Urine | Ion-selective electrodes (ISE) | Integra 800 | mmol/L | QC Note 3 | 66 | 3.25% | 177.5 | 2.45% | 6% | 12% | 18% | Optimum
| Potassium | Urine | Ion-selective electrodes (ISE) | Integra 800 | mmol/L | QC Note 2 | 25.5 | 2.45% | 107.5 | 4.35% | 6.8% | 13.6% | 20.4% | Optimum
| Iodine | Urine | Inductively Coupled Plasma- Mass Spectrometry (ICPMS) | Agilent 7500ce | µg/L | QC Note 6 | 17 | 16% | 169.2 | 3.5% | 3.75% | 7.5% | 11.25% | Sub-Minimum
QC Procedural Notes
QC Note 1 | Bi-Level QC run at Startup then a further 3 times per day
ABS Samples run in a batch immediately following Startup QC signoff
QC Note 2 | Bi-Level QC run at Startup then end of shift
ABS Samples run in a batch immediately following Startup QC signoff
QC Note 3 | Calibration plus Bi-Level QC (Start and End) with each sample batch
QC Note 4 | Bi-Level QC (Start/End/every 50) with each sample batch
QC Note 5 | Bi-Level QC with each sample batch
QC Note 6 | Biorad urine metals Bi-level QC
Reference
(a) Desirable specifications for imprecision based on biological variation (intra-individual), <http://www.westgard.com/biological-variation-database-specifications>, Last accessed 22/08/2014